## 2024 Quarter 1
#VALUE! | 2024 Price List - Quarter 1
88-PRO - 1/8 DIN Loop Powered Panel Meter
Part Description | Part Number | GB £ | EURO € | US $ | CAD $ | Group
1/8 DIN loop powered panel meter | 88-PRO | 112 | 129 | $139.00 | $186.00 | D
Accessories
IP67 front cover | SPC4 | 34 | 39 | $42.00 | $56.00 | D
IP65 wall mounting enclosure for 1 x meter | WALLBOX | 135 | 155 | $167.00 | $224.00 | D
IP65 wall mounting enclosure for 2 x meters | WALLBOX2 | 193 | 222 | $239.00 | $320.00 | D
BAR - 1/8 DIN Bargraphs
Part Description | Part Number | GB £ | EURO € | US $ | CAD $ | Group
30 segments, process (4-20mA, 0-10V, etc) input | BAR | 198 | 228 | $246.00 | $329.00 | E
Alarm Outputs
None | A | 0 | 0 | $0.00 | $0.00
2 x SPCO mechanical relays | X | 24 | 28 | $30.00 | $40.00 | E
Orientation
Horizontal | H | 0 | 0 | $0.00 | $0.00
Vertical | V | 0 | 0 | $0.00 | $0.00
Segment Colour
Green | G | 9 | 10 | $11.00 | $15.00 | E
Red | R | 0 | 0 | $0.00 | $0.00
Power
95-265 VAC | AC | 0 | 0 | $0.00 | $0.00
11-30V DC | DC | 18 | 21 | $22.00 | $30.00 | E
Accessories
IP67 front cover | SPC4 | 34 | 39 | $42.00 | $56.00 | D
IP65 wall mounting enclosure for 1 x bargraph | WALLBOX | 135 | 155 | $167.00 | $224.00 | D
IP65 wall mounting enclosure for 2 x bargraphs | WALLBOX2 | 193 | 222 | $239.00 | $320.00 | D
BCD-2 - 1/8 DIN BCD Input Display
Part Description | Part Number | GB £ | EURO € | US $ | CAD $ | Group
2 digits, 1 inch (25mm) high | BCD-2 | 125 | 144 | $155.00 | $208.00 | E
Digit Colour
Green | G | 34 | 39 | $42.00 | $56.00 | E
Red | R | 0 | 0 | $0.00 | $0.00
Logic Level
12V | 12 | 0 | 0 | $0.00 | $0.00
24V | 24 | 0 | 0 | $0.00 | $0.00
Accessories
IP67 front cover | SPC4 | 34 | 39 | $42.00 | $56.00 | D
IP65 wall mounting enclosure for 1 x meter | WALLBOX | 135 | 155 | $167.00 | $224.00 | D
IP65 wall mounting enclosure for 2 x meters | WALLBOX2 | 193 | 222 | $239.00 | $320.00 | D
BCD-4 - 3/64 DIN BCD Input Display
Part Description | Part Number | GB £ | EURO € | US $ | CAD $ | Group
4 digits, 0.56 inch (14.2mm) high | BCD-4 | 147 | 169 | $182.00 | $244.00 | E
Digit Colour
Green | G | 34 | 39 | $42.00 | $56.00 | E
Red | R | 0 | 0 | $0.00 | $0.00
Logic Level
5V | 5 | 18 | 21 | $22.00 | $30.00 | E
24V | 24 | 0 | 0 | $0.00 | $0.00
Front Panel Sealing
IP43 | 0 | 0 | 0 | $0.00 | $0.00
IP65 | IP65 | 19 | 22 | $24.00 | $32.00 | E
Accessories
IDC connector with cable (price per metre) | CABLE | 4 | 5 | $5.00 | $7.00 | E
Certificates
Part Description | Part Number | GB £ | EURO € | US $ | CAD $ | Group
Certificate of conformity | C of C | 16 | 18 | $20.00 | $27.00 | E
Traceable 10 point calibration certificate | Cal Cert | 52 | 60 | $64.00 | $86.00 | E
Certificate of origin (ask for price, depends on country) | Cert of Origin | 100 | 115 | $124.00 | $166.00 | E
Declaration of conformity (free on each delivery note) | Dec of Conformity | 0 | 0 | $0.00 | $0.00 | E
10 point test certificate | Test Cert | 25 | 29 | $31.00 | $42.00 | E
Delivery Charges - Mainland UK
Part Description | Part Number | GB £ | EURO € | US $ | CAD $ | Group
Panel Meters
1-10 pieces | CARRIAGEDPM | 10 | 12 | $12.00 | $17.00 | E
Large Displays
1 x FUSION 2 inch digits | CARRIAGEF2 | 10 | 12 | $12.00 | $17.00 | E
1 x FUSION 4 inch digits | CARRIAGEF4 | 15 | 17 | $19.00 | $25.00 | E
1 x FUSION 6 inch digits | CARRIAGEF6 | 20 | 23 | $25.00 | $33.00 | E
1 x FUSION 8 inch digits | CARRIAGEF8 | 62.95 | 72 | $78.00 | $104.00 | E
1 x FUSION 12 inch digits | CARRIAGEF12 | 62.95 | 72 | $78.00 | $104.00 | E
1 x FUSION 16 inch digits | CARRIAGEF16 | 62.95 | 72 | $78.00 | $104.00 | E
Large Displays (Stainless Steel Enclosures)
1 x FUSION 2 inch digits | PALLETF2 | 89 | 102 | $110.00 | $148.00 | E
1 x FUSION 4 inch digits | PALLETF4 | 89 | 102 | $110.00 | $148.00 | E
1 x FUSION 6 inch digits | PALLETF6 | 89 | 102 | $110.00 | $148.00 | E
1 x FUSION 8 inch digits | PALLETF8 | 89 | 102 | $110.00 | $148.00 | E
EXAM Clock - Large Digit Exam Clocks
Part Description | Part Number | GB £ | EURO € | US $ | CAD $ | Group
Digit Height
2 inch (57mm) high, viewable up to 25m | EXAM2 | 1168 | 1343 | $1448.00 | $1939.00 | E
4 inch (102mm) high, viewable up to 50m | EXAM4 | 1665 | 1915 | $2065.00 | $2764.00 | E
6 inch (150mm) high, viewable up to 75m | EXAM6 | 2622 | 3015 | $3251.00 | $4353.00 | E
Digit Colour
Blue | B | 348 | 400 | $432.00 | $578.00 | E
Green | G | 0 | 0 | $0.00 | $0.00
Red | R | 0 | 0 | $0.00 | $0.00
White | W | 369 | 424 | $458.00 | $613.00 | E
Yellow | Y | 138 | 159 | $171.00 | $229.00 | E
Mounting
Wall, glands on bottom surface | 2 | 0 | 0 | $0.00 | $0.00
Suspension, glands on bottom surface | 3 | 0 | 0 | $0.00 | $0.00
Wall, glands on top surface | 4 | 0 | 0 | $0.00 | $0.00
Suspension, glands on top surface | 5 | 0 | 0 | $0.00 | $0.00
Controller
Wired 4 button controller, 5m cable length | FUSRP | 65 | 75 | $81.00 | $108.00 | E
Wireless 8 button controller | WRP2-8 | 415 | 477 | $515.00 | $689.00 | E
FUSION - Large Digit Displays
Part Description | Part Number | GB £ | EURO € | US $ | CAD $ | Group
Digit Format
4 digits, 2 inch (57mm) high, 88:88 | F2-4C | 411 | 473 | $510.00 | $682.00 | A
4 digits, 2 inch (57mm) high, 8.8.8.8. | F2-4N | 384 | 442 | $476.00 | $637.00 | A
6 digits, 2 inch (57mm) high, 88:88:88 | F2-6C | 529 | 608 | $656.00 | $878.00 | A
6 digits, 2 inch (57mm) high, 8.8.8.8.8.8. | F2-6N | 491 | 565 | $609.00 | $815.00 | A
4 digits, 4 inch (102mm) high, 88:88 | F4-4C | 629 | 723 | $780.00 | $1044.00 | A
4 digits, 4 inch (102mm) high, 8.8.8.8. | F4-4N | 604 | 695 | $749.00 | $1003.00 | A
6 digits, 4 inch (102mm) high, 88:88:88 | F4-6C | 825 | 949 | $1023.00 | $1370.00 | A
6 digits, 4 inch (102mm) high, 8.8.8.8.8.8. | F4-6N | 788 | 906 | $977.00 | $1308.00 | A
4 digits, 6 inch (150mm) high, 88:88 | F6-4C | 1064 | 1224 | $1319.00 | $1766.00 | A
4 digits, 6 inch (150mm) high, 8.8.8.8. | F6-4N | 1064 | 1224 | $1319.00 | $1766.00 | A
6 digits, 6 inch (150mm) high, 88:88:88 | F6-6C | 1080 | 1242 | $1339.00 | $1793.00 | A
6 digits, 6 inch (150mm) high, 8.8.8.8.8.8. | F6-6N | 1080 | 1242 | $1339.00 | $1793.00 | A
4 digits, 8 inch (200mm) high, 88:88 | F8-4C | 1306 | 1502 | $1619.00 | $2168.00 | A
4 digits, 8 inch (200mm) high, 8.8.8.8. | F8-4N | 1306 | 1502 | $1619.00 | $2168.00 | A
6 digits, 8 inch (200mm) high, 88:88:88 | F8-6C | 1336 | 1536 | $1657.00 | $2218.00 | A
6 digits, 8 inch (200mm) high, 8.8.8.8.8.8. | F8-6N | 1336 | 1536 | $1657.00 | $2218.00 | A
4 digits, 12 inch (300mm) high, 88:88 | F12-4C | 1948 | 2240 | $2416.00 | $3234.00 | A
4 digits, 12 inch (300mm) high, 8.8.8.8. | F12-4N | 1948 | 2240 | $2416.00 | $3234.00 | A
6 digits, 12 inch (300mm) high, 88:88:88 | F12-6C | 2080 | 2392 | $2579.00 | $3453.00 | A
6 digits, 12 inch (300mm) high, 8.8.8.8.8.8. | F12-6N | 2080 | 2392 | $2579.00 | $3453.00 | A
4 digits, 16 inch (400mm) high, 88:88 | F16-4C | 2311 | 2658 | $2866.00 | $3836.00 | A
4 digits, 16 inch (400mm) high, 8.8.8.8. | F16-4N | 2311 | 2658 | $2866.00 | $3836.00 | A
6 digits, 16 inch (400mm) high, 88:88:88 | F16-6C | 2435 | 2800 | $3019.00 | $4042.00 | A
6 digits, 16 inch (400mm) high, 8.8.8.8.8.8. | F16-6N | 2435 | 2800 | $3019.00 | $4042.00 | A
4 digits, 24 inch (600mm) high, 88:88 | F24-4C | 3897 | 4482 | $4832.00 | $6469.00 | A
4 digits, 24 inch (600mm) high, 8.8.8.8 | F24-4N | 3897 | 4482 | $4832.00 | $6469.00 | A
6 digits, 24 inch (600mm) high, 88:88:88 | F24-6C | 4159 | 4783 | $5157.00 | $6904.00 | A
6 digits, 24 inch (600mm) high, 8.8.8.8.8.8. | F24-6N | 4159 | 4783 | $5157.00 | $6904.00 | A
4 digits, 32 inch (800mm) high, 88:88 | F32-4C | 4622 | 5315 | $5731.00 | $7673.00 | A
4 digits, 32 inch (800mm) high, 8.8.8.8. | F32-4N | 4622 | 5315 | $5731.00 | $7673.00 | A
6 digits, 32 inch (800mm) high, 88:88:88 | F32-6C | 4870 | 5601 | $6039.00 | $8084.00 | A
6 digits, 32 inch (800mm) high, 8.8.8.8.8.8. | F32-6N | 4870 | 5601 | $6039.00 | $8084.00 | A
4 digits, 48 inch (1200mm) high, 88:88 | F48-4C | 7793 | 8962 | $9663.00 | $12936.00 | A
4 digits, 48 inch (1200mm) high, 8.8.8.8. | F48-4N | 7793 | 8962 | $9663.00 | $12936.00 | A
6 digits, 48 inch (1200mm) high, 88:88:88 | F48-6C | 8319 | 9567 | $10316.00 | $13810.00 | A
6 digits, 48 inch (1200mm) high, 8.8.8.8.8.8. | F48-6N | 8319 | 9567 | $10316.00 | $13810.00 | A
Function/Input Type
Counter/Ratemeter, 4 or 6 digits | C | 82 | 94 | $102.00 | $136.00 | A
Clock/Timer, 4 or 6 digits | H | 70 | 81 | $87.00 | $116.00 | A
Ethernet/IP, 4 or 6 digits | IP | 730 | 839 | $905.00 | $1212.00 | D
Load cell, 4 or 6 digits | L | 87 | 100 | $108.00 | $144.00 | A
Ethernet TCP/IP, 4 or 6 digits | LEM | 332 | 382 | $412.00 | $551.00 | D
Process (4-20mA, 0-10V, etc), 4 or 6 digits | P | 70 | 81 | $87.00 | $116.00 | A
Profibus, 4 or 6 digits | PB | 730 | 839 | $905.00 | $1212.00 | D
Profinet, 4 or 6 digits | PN | 730 | 839 | $905.00 | $1212.00 | D
Modbus RTU | RTU | 225 | 259 | $279.00 | $374.00 | A
Serial Data (RS232), 4 or 6 digits | S2 | 59 | 68 | $73.00 | $98.00 | A
Serial Data (RS422/RS485), 4 or 6 digits | S4 | 83 | 95 | $103.00 | $138.00 | A
Temperature (RTD/thermocouple), 4 digits | T | 193 | 222 | $239.00 | $320.00 | A
Mantracourt T24 slave, 4 or 6 digits | T24 | 133 | 153 | $165.00 | $221.00 | E
Modbus TCP, 4 or 6 digits | TCP | 730 | 839 | $905.00 | $1212.00 | D
Time and Temperature, 4 digits | TT | 141 | 162 | $175.00 | $234.00 | A
Analogue Output
None | 0 | 0 | 0 | $0.00 | $0.00
-10 to +10 V | ANB | 104 | 120 | $129.00 | $173.00 | A
4-20mA | ANI | 61 | 70 | $76.00 | $101.00 | A
0-10V | ANV | 61 | 70 | $76.00 | $101.00 | A
Alarm Outputs
None | 0 | 0 | 0 | $0.00 | $0.00
2 x SPST mechanical relays | AL2 | 50 | 57 | $62.00 | $83.00 | A
4 x SPST mechanical relays | AL4 | 68 | 78 | $84.00 | $113.00 | A
2 x solid state relays (specify AC or DC) | DSS | 74 | 85 | $92.00 | $123.00 | A
4 x solid state relays (specify AC or DC) | QSS | 97 | 112 | $120.00 | $161.00 | A
2 x SPCO mechanical relays | SPCO | 61 | 70 | $76.00 | $101.00 | A
4 x SPCO mechanical relays (excludes data interface) | 4SPCO | 122 | 140 | $151.00 | $203.00 | A
Data Interface
None | 0 | 0 | 0 | $0.00 | $0.00
RS232 | 232 | 56 | 64 | $69.00 | $93.00 | A
RS422/RS485 + Modbus ASCII | 485 | 80 | 92 | $99.00 | $133.00 | A
Modbus RTU | RTU | 216 | 248 | $268.00 | $359.00 | A
Digit Colour/Brightness
Blue, normal (indoor) | B | 193 | 222 | $239.00 | $320.00 | A
Blue, daylight viewing (outdoor) | BDLV | 286 | 329 | $355.00 | $475.00 | A
Green, normal (indoor) | G | 0 | 0 | $0.00 | $0.00
Green, daylight viewing (outdoor) | GDLV | 228 | 262 | $283.00 | $378.00 | A
Red, normal (indoor) | R | 0 | 0 | $0.00 | $0.00
Red, daylight viewing (outdoor) | RDLV | 113 | 130 | $140.00 | $188.00 | A
White, normal (indoor) | W | 205 | 236 | $254.00 | $340.00 | A
White, daylight viewing (outdoor) | WDLV | 675 | 776 | $837.00 | $1121.00 | A
Yellow, normal (indoor) | Y | 77 | 89 | $95.00 | $128.00 | A
Yellow, daylight viewing (outdoor) | YDLV | 269 | 309 | $334.00 | $447.00 | A
Power
19-53V AC | 48VAC | 181 | 208 | $224.00 | $300.00 | D
95-265V AC | AC | 0 | 0 | $0.00 | $0.00
11-30V DC | DC | 75 | 86 | $93.00 | $125.00 | A
Mounting
Uncased | 0 | 0 | 0 | $0.00 | $0.00
Panel, glands on rear | 1 | 139 | 160 | $172.00 | $231.00 | A
Wall, glands on bottom surface | 2 | 75 | 86 | $93.00 | $125.00 | A
Large wall, glands on bottom surface | 2L | 75 | 86 | $93.00 | $125.00 | A
Stainless steel wall, glands on bottom surface | 2SS | 103 | 118 | $128.00 | $171.00 | A
Suspension, glands on bottom surface | 3 | 75 | 86 | $93.00 | $125.00 | A
Back to back suspension, glands on bottom surface | 3BB | 75 | 86 | $93.00 | $125.00 | A
Stainless steel suspension, glands on bottom surface | 3SS | 103 | 118 | $128.00 | $171.00 | A
Wall, glands on top surface | 4 | 75 | 86 | $93.00 | $125.00 | A
Large wall, glands on top surface | 4L | 75 | 86 | $93.00 | $125.00 | A
Suspension, glands on top surface | 5 | 75 | 86 | $93.00 | $125.00 | A
Back to back suspension, glands on top surface | 5BB | 75 | 86 | $93.00 | $125.00 | A
Suspension, glands on rear | 6 | 87 | 100 | $108.00 | $144.00 | A
Suspension/Wall, glands on bottom surface | 7 | 113 | 130 | $140.00 | $188.00 | A
Suspension/Wall, glands on top surface | 8 | 113 | 130 | $140.00 | $188.00 | A
No brackets, glands on rear | 9 | 51 | 59 | $63.00 | $85.00 | A
Wall, glands on rear | 10 | 87 | 100 | $108.00 | $144.00 | A
Accessories/Options
4 button remote programmer (prewired with 5m cable) | FUSRP | 108 | 124 | $134.00 | $179.00 | A
7 button remote programmer (prewired with 5m cable) | FUSRP7 | 142 | 163 | $176.00 | $236.00 | A
Real Time Clock module | H | 54 | 62 | $67.00 | $90.00 | D
Thermostatic heater, 12V DC powered | HEATER12VDC | 189 | 217 | $234.00 | $314.00 | D
Thermostatic heater, 24V DC powered | HEATER24VDC | 189 | 217 | $234.00 | $314.00 | D
Thermostatic heater, 95-265V AC powered | HEATERAC | 189 | 217 | $234.00 | $314.00 | D
Wireless 4 button programmer (200m range, 868MHz) | KEYFOB200 | 184 | 212 | $228.00 | $305.00 | D
White vinyl descriptive text (includes taller case) | LEGEND | 68 | 78 | $84.00 | $113.00 | A
Namur pulse input for counters/ratemeters | NAMUR | 40 | 46 | $50.00 | $66.00 | D
Synchronise clocks to NTP server | NTP | 340 | 391 | $422.00 | $564.00 | D
Potentiometer input for process displays (3 wire, 10V) | POT | 25 | 29 | $31.00 | $42.00 | A
32 tone electronic sounder, 100dB at 1 metre, IP65 | SOUNDER | 153 | 176 | $190.00 | $254.00 | A
White vinyl units of measure label (includes wider case) | UM | 40 | 46 | $50.00 | $66.00 | A
USB to RS485 converter | USB | 68 | 78 | $84.00 | $113.00 | E
FUSION - With 316L Stainless Steel Enclosures
Part Description | Part Number | GB £ | EURO € | US $ | CAD $ | Group
Digit Format
4 digits, 2 inch (57mm) high, 88:88 | SS-F2-4C | 1322 | 1520 | $1639.00 | $2195.00 | A
4 digits, 2 inch (57mm) high, 8.8.8.8. | SS-F2-4N | 1295 | 1489 | $1606.00 | $2150.00 | A
6 digits, 2 inch (57mm) high, 88:88:88 | SS-F2-6C | 1528 | 1757 | $1895.00 | $2536.00 | A
6 digits, 2 inch (57mm) high, 8.8.8.8.8.8. | SS-F2-6N | 1487 | 1710 | $1844.00 | $2468.00 | A
4 digits, 4 inch (102mm) high, 88:88 | SS-F4-4C | 1756 | 2019 | $2177.00 | $2915.00 | A
4 digits, 4 inch (102mm) high, 8.8.8.8. | SS-F4-4N | 1728 | 1987 | $2143.00 | $2868.00 | A
6 digits, 4 inch (102mm) high, 88:88:88 | SS-F4-6C | 2198 | 2528 | $2726.00 | $3649.00 | A
6 digits, 4 inch (102mm) high, 8.8.8.8.8.8. | SS-F4-6N | 2156 | 2479 | $2673.00 | $3579.00 | A
4 digits, 6 inch (150mm) high, 88:88 | SS-F6-4C | 2579 | 2966 | $3198.00 | $4281.00 | A
4 digits, 6 inch (150mm) high, 8.8.8.8. | SS-F6-4N | 2538 | 2919 | $3147.00 | $4213.00 | A
6 digits, 6 inch (150mm) high, 88:88:88 | SS-F6-6C | 2873 | 3304 | $3563.00 | $4769.00 | A
6 digits, 6 inch (150mm) high, 8.8.8.8.8.8. | SS-F6-6N | 2831 | 3256 | $3510.00 | $4699.00 | A
4 digits, 8 inch (200mm) high, 88:88 | SS-F8-4C | 3178 | 3655 | $3941.00 | $5275.00 | A
4 digits, 8 inch (200mm) high, 8.8.8.8. | SS-F8-4N | 3122 | 3590 | $3871.00 | $5183.00 | A
6 digits, 8 inch (200mm) high, 88:88:88 | SS-F8-6C | 4213 | 4845 | $5224.00 | $6994.00 | A
6 digits, 8 inch (200mm) high, 8.8.8.8.8.8. | SS-F8-6N | 4157 | 4781 | $5155.00 | $6901.00 | A
Function/Input Type
Counter/Ratemeter, 4 or 6 digits | C | 82 | 94 | $102.00 | $136.00 | A
Clock/Timer, 4 or 6 digits | H | 70 | 81 | $87.00 | $116.00 | A
Ethernet/IP, 4 or 6 digits | IP | 730 | 839 | $905.00 | $1212.00 | D
Load cell, 4 or 6 digits | L | 87 | 100 | $108.00 | $144.00 | A
Ethernet TCP/IP, 4 or 6 digits | LEM | 332 | 382 | $412.00 | $551.00 | D
Process (4-20mA, 0-10V, etc), 4 or 6 digits | P | 70 | 81 | $87.00 | $116.00 | A
Profibus, 4 or 6 digits | PB | 730 | 839 | $905.00 | $1212.00 | D
Profinet, 4 or 6 digits | PN | 730 | 839 | $905.00 | $1212.00 | D
Modbus RTU, 4 or 6 digits | RTU | 225 | 259 | $279.00 | $374.00 | A
Serial Data (RS232), 4 or 6 digits | S2 | 59 | 68 | $73.00 | $98.00 | A
Serial Data (RS422/RS485), 4 or 6 digits | S4 | 83 | 95 | $103.00 | $138.00 | A
Temperature (RTD/Thermocouple), 4 digits | T | 193 | 222 | $239.00 | $320.00 | A
Mantracourt T24 slave, 4 or 6 digits | T24 | 133 | 153 | $165.00 | $221.00 | E
Modbus TCP, 4 or 6 or 8 digits | TCP | 730 | 839 | $905.00 | $1212.00 | D
Time and Temperature, 4 digits | TT | 141 | 162 | $175.00 | $234.00 | A
Analogue Output
None | 0 | 0 | 0 | $0.00 | $0.00
-10 to +10V | ANB | 104 | 120 | $129.00 | $173.00 | A
4-20mA | ANI | 61 | 70 | $76.00 | $101.00 | A
0-10V | ANV | 61 | 70 | $76.00 | $101.00 | A
Alarm Outputs
None | 0 | 0 | 0 | $0.00 | $0.00
2 x SPST mechanical relays | AL2 | 50 | 57 | $62.00 | $83.00 | A
4 x SPST mechanical relays | AL4 | 68 | 78 | $84.00 | $113.00 | A
2 x solid state relays (specify AC or DC) | DSS | 74 | 85 | $92.00 | $123.00 | A
4 x solid state relays (specify AC or DC) | QSS | 97 | 112 | $120.00 | $161.00 | A
2 x SPCO mechanical relays | SPCO | 61 | 70 | $76.00 | $101.00 | A
4 x SPCO mechanical relays (excludes data interface) | 4SPCO | 122 | 140 | $151.00 | $203.00 | A
Data Interface
None | 0 | 0 | 0 | $0.00 | $0.00
RS232 | 232 | 56 | 64 | $69.00 | $93.00 | A
RS422/RS485 + Modbus ASCII | 485 | 80 | 92 | $99.00 | $133.00 | A
Modbus RTU | RTU | 216 | 248 | $268.00 | $359.00 | A
Digit Colour/Brightness
Blue, normal (indoor) | B | 193 | 222 | $239.00 | $320.00 | A
Blue, daylight viewing (outdoor) | BDLV | 286 | 329 | $355.00 | $475.00 | A
Green, normal (indoor) | G | 0 | 0 | $0.00 | $0.00
Green, daylight viewing (outdoor) | GDLV | 228 | 262 | $283.00 | $378.00 | A
Red, normal (indoor) | R | 0 | 0 | $0.00 | $0.00
Red, daylight viewing (outdoor) | RDLV | 113 | 130 | $140.00 | $188.00 | A
White, normal (indoor) | W | 205 | 236 | $254.00 | $340.00 | A
White, daylight viewing (outdoor) | WDLV | 675 | 776 | $837.00 | $1121.00 | A
Yellow, normal (indoor) | Y | 77 | 89 | $95.00 | $128.00 | A
Yellow, daylight viewing (outdoor) | YDLV | 269 | 309 | $334.00 | $447.00 | A
Power
19-53V AC | 48VAC | 181 | 208 | $224.00 | $300.00 | D
95-265V AC | AC | 0 | 0 | $0.00 | $0.00
11-30V DC | DC | 75 | 86 | $93.00 | $125.00 | A
Mounting
Wall, glands on bottom surface | 2 | 0 | 0 | $0.00 | $0.00
Suspension, glands on bottom surface | 3 | 75 | 86 | $93.00 | $125.00 | A
Wall, glands on bottom surface | 4 | 0 | 0 | $0.00 | $0.00
Suspension, glands on bottom surface | 5 | 75 | 86 | $93.00 | $125.00 | A
Accessories/Options
4 button remote programmer (prewired with 5m cable) | FUSRP | 108 | 124 | $134.00 | $179.00 | A
7 button remote programmer (prewired with 5m cable) | FUSRP7 | 142 | 163 | $176.00 | $236.00 | A
Real Time Clock module | H | 54 | 62 | $67.00 | $90.00 | D
Thermostatic heater, 12V DC powered | HEATER12VDC | 189 | 217 | $234.00 | $314.00 | D
Thermostatic heater, 24V DC powered | HEATER24VDC | 189 | 217 | $234.00 | $314.00 | D
Thermostatic heater, 95-265V AC powered | HEATERAC | 189 | 217 | $234.00 | $314.00 | D
Wireless 4 button programmer (200m range, 868MHz) | KEYFOB200 | 184 | 212 | $228.00 | $305.00 | D
Additional M20 cable gland (2 fitted as standard) | M20 | 19 | 22 | $24.00 | $32.00 | A
Namur pulse input for counters/ratemeters | NAMUR | 40 | 46 | $50.00 | $66.00 | D
Synchronise clocks to internet NTP server | NTP | 340 | 391 | $422.00 | $564.00 | D
Potentiometer input for process displays (3 wire, 10V) | POT | 25 | 29 | $31.00 | $42.00 | A
USB to RS485 converter | USB | 68 | 78 | $84.00 | $113.00 | E
Serial to WiFi converter | WIFI | 397 | 457 | $492.00 | $659.00 | D
FUSION - With ATEX Zones 2 and 22 Enclosures
Part Description | Part Number | GB £ | EURO € | US $ | CAD $ | Group
Digit Format
4 digits, 2 inch (57mm) high, 88:88 | EXNR-F2-4C | 2268 | 2608 | $2812.00 | $3765.00 | A
4 digits, 2 inch (57mm) high, 8.8.8.8. | EXNR-F2-4N | 2240 | 2576 | $2778.00 | $3718.00 | A
6 digits, 2 inch (57mm) high, 88:88:88 | EXNR-F2-6C | 2532 | 2912 | $3140.00 | $4203.00 | A
6 digits, 2 inch (57mm) high, 8.8.8.8.8.8. | EXNR-F2-6N | 2490 | 2864 | $3088.00 | $4133.00 | A
4 digits, 4 inch (102mm) high, 88:88 | EXNR-F4-4C | 2765 | 3180 | $3429.00 | $4590.00 | A
4 digits, 4 inch (102mm) high, 8.8.8.8. | EXNR-F4-4N | 2737 | 3148 | $3394.00 | $4543.00 | A
6 digits, 4 inch (102mm) high, 88:88:88 | EXNR-F4-6C | 3221 | 3704 | $3994.00 | $5347.00 | A
6 digits, 4 inch (102mm) high, 8.8.8.8.8.8. | EXNR-F4-6N | 3180 | 3657 | $3943.00 | $5279.00 | A
4 digits, 6 inch (150mm) high, 88:88 | EXNR-F6-4C | 3623 | 4166 | $4493.00 | $6014.00 | A
4 digits, 6 inch (150mm) high, 8.8.8.8. | EXNR-F6-4N | 3581 | 4118 | $4440.00 | $5944.00 | A
6 digits, 6 inch (150mm) high, 88:88:88 | EXNR-F6-6C | 3948 | 4540 | $4896.00 | $6554.00 | A
6 digits, 6 inch (150mm) high, 8.8.8.8.8.8. | EXNR-F6-6N | 3906 | 4492 | $4843.00 | $6484.00 | A
4 digits, 8 inch (200mm) high, 88:88 | EXNR-F8-4C | 4177 | 4804 | $5179.00 | $6934.00 | A
4 digits, 8 inch (200mm) high, 8.8.8.8. | EXNR-F8-4N | 4121 | 4739 | $5110.00 | $6841.00 | A
6 digits, 8 inch (200mm) high, 88:88:88 | EXNR-F8-6C | 5321 | 6119 | $6598.00 | $8833.00 | A
6 digits, 8 inch (200mm) high, 8.8.8.8.8.8. | EXNR-F8-6N | 5264 | 6054 | $6527.00 | $8738.00 | A
Function/Input Type
Counter/Ratemeter, 4 or 6 digits | C | 82 | 94 | $102.00 | $136.00 | A
Clock/Timer, 4 or 6 digits | H | 70 | 81 | $87.00 | $116.00 | A
Ethernet/IP, 4 or 6 digits | IP | 730 | 839 | $905.00 | $1212.00 | D
Load cell, 4 or 6 digits | L | 87 | 100 | $108.00 | $144.00 | A
Ethernet TCP/IP, 4 or 6 digits | LEM | 332 | 382 | $412.00 | $551.00 | D
Process (4-20mA, 0-10V, etc), 4 or 6 digits | P | 70 | 81 | $87.00 | $116.00 | A
Profibus, 4 or 6 digits | PB | 730 | 839 | $905.00 | $1212.00 | D
Profinet, 4 or 6 digits | PN | 730 | 839 | $905.00 | $1212.00 | D
Modbus RTU, 4 or 6 digits | RTU | 225 | 259 | $279.00 | $374.00 | A
Serial Data (RS232), 4 or 6 digits | S2 | 59 | 68 | $73.00 | $98.00 | A
Serial Data (RS422/RS485), 4 or 6 digits | S4 | 83 | 95 | $103.00 | $138.00 | A
Temperature (RTD/thermocouple), 4 digits | T | 193 | 222 | $239.00 | $320.00 | A
Modbus TCP, 4 or 6 or 8 digits | TCP | 730 | 839 | $905.00 | $1212.00 | D
Analogue Output
None | 0 | 0 | 0 | $0.00 | $0.00
-10 to +10V | ANB | 104 | 120 | $129.00 | $173.00 | A
4-20mA | ANI | 61 | 70 | $76.00 | $101.00 | A
0-10V | ANV | 61 | 70 | $76.00 | $101.00 | A
Alarm Outputs
None | 0 | 0 | 0 | $0.00 | $0.00
2 x SPST mechanical relays | AL2 | 50 | 57 | $62.00 | $83.00 | A
4 x SPST mechanical relays | AL4 | 68 | 78 | $84.00 | $113.00 | A
2 x solid state relays (specify AC or DC) | DSS | 74 | 85 | $92.00 | $123.00 | A
4 x solid state relays (specify AC or DC) | QSS | 97 | 112 | $120.00 | $161.00 | A
2 x SPCO mechanical relays | SPCO | 61 | 70 | $76.00 | $101.00 | A
4 x SPCO mechanical relays (excludes data interface) | 4SPCO | 122 | 140 | $151.00 | $203.00 | A
Data Interface
None | 0 | 0 | 0 | $0.00 | $0.00
RS232 | 232 | 56 | 64 | $69.00 | $93.00 | A
RS422/RS485 + Modbus ASCII | 485 | 80 | 92 | $99.00 | $133.00 | A
Modbus RTU | RTU | 216 | 248 | $268.00 | $359.00 | A
Digit Colour/Brightness
Blue, normal (indoor) | B | 193 | 222 | $239.00 | $320.00 | A
Blue, daylight viewing (outdoor) | BDLV | 286 | 329 | $355.00 | $475.00 | A
Green, normal (indoor) | G | 0 | 0 | $0.00 | $0.00
Green, daylight viewing (outdoor) | GDLV | 228 | 262 | $283.00 | $378.00 | A
Red, normal (indoor) | R | 0 | 0 | $0.00 | $0.00
Red, daylight viewing (outdoor) | RDLV | 113 | 130 | $140.00 | $188.00 | A
White, normal (indoor) | W | 205 | 236 | $254.00 | $340.00 | A
White, daylight viewing (outdoor) | WDLV | 675 | 776 | $837.00 | $1121.00 | A
Yellow, normal (indoor) | Y | 77 | 89 | $95.00 | $128.00 | A
Yellow, daylight viewing (outdoor) | YDLV | 269 | 309 | $334.00 | $447.00 | A
Power
19-53V AC | 48VAC | 181 | 208 | $224.00 | $300.00 | D
95-265V AC | AC | 0 | 0 | $0.00 | $0.00
11-30V DC | DC | 75 | 86 | $93.00 | $125.00 | A
Mounting
Wall, glands on bottom surface | 2 | 0 | 0 | $0.00 | $0.00
Suspension, glands on bottom surface | 3 | 75 | 86 | $93.00 | $125.00 | A
Wall, glands on top surface | 4 | 0 | 0 | $0.00 | $0.00
Suspension, glands on top surface | 5 | 75 | 86 | $93.00 | $125.00 | A
Accessories/Options
Additional M20 cable gland (2 fitted as standard) | EXNRM20 | 19 | 22 | $24.00 | $32.00 | A
ATEX certified RJ45 socket and mating plug | EXNRRJ45 | 328 | 377 | $407.00 | $544.00 | D
4 button remote programmer (prewired with 5m cable) | FUSRP | 108 | 124 | $134.00 | $179.00 | A
Real Time Clock module | H | 54 | 62 | $67.00 | $90.00 | D
Thermostatic heater, 12V DC powered | HEATER12VDC | 189 | 217 | $234.00 | $314.00 | D
Thermostatic heater, 24V DC powered | HEATER24VDC | 189 | 217 | $234.00 | $314.00 | D
Thermostatic heater, 95-265V AC powered | HEATERAC | 189 | 217 | $234.00 | $314.00 | D
Namur pulse input for counters/ratemeters | NAMUR | 40 | 46 | $50.00 | $66.00 | D
Synchronise clocks to internet NTP server | NTP | 340 | 391 | $422.00 | $564.00 | D
Potentiometer input for process displays (3 wire, 10V) | POT | 25 | 29 | $31.00 | $42.00 | A
USB to RS485 converter | USB | 68 | 78 | $84.00 | $113.00 | E
IJ4 - Junior Version of INT4
Part Description | Part Number | GB £ | EURO € | US $ | CAD $ | Group
1/8 DIN digital panel meter with 2 x mechanical relays | IJ4 | 208 | 239 | $258.00 | $345.00 | D
Function/Input Type
Load cell | L | 8 | 9 | $10.00 | $13.00 | D
Process (4-20mA, 0-10V, etc) | P | 0 | 0 | $0.00 | $0.00
Digit Colour
Green | G | 6 | 7 | $7.00 | $10.00 | D
Red | R | 0 | 0 | $0.00 | $0.00
Power
95-265V AC | AC | 0 | 0 | $0.00 | $0.00
11-30V DC | DC | 18 | 21 | $22.00 | $30.00 | D
Accessories
Programming buttons hidden behind plain front | PLAINLENS | 12 | 14 | $15.00 | $20.00 | D
IP67 front cover | SPC4 | 34 | 39 | $42.00 | $56.00 | D
IP65 wall mounting enclosure for 1 x meter | WALLBOX | 135 | 155 | $167.00 | $224.00 | D
IP65 wall mounting enclosure for 2 x meters | WALLBOX2 | 193 | 222 | $239.00 | $320.00 | D
IL4 - Lite Version of INT4
Part Description | Part Number | GB £ | EURO € | US $ | CAD $ | Group
1/8 DIN digital panel meter (no outputs) | IL4 | 147 | 169 | $182.00 | $244.00 | D
Function/Input Type
Load cell | L | 13 | 15 | $16.00 | $22.00 | D
Process (4-20mA, 0-10V, etc) | P | 0 | 0 | $0.00 | $0.00
Digit Colour
Green | G | 6 | 7 | $7.00 | $10.00 | D
Red | R | 0 | 0 | $0.00 | $0.00
Power
95-265V AC | AC | 0 | 0 | $0.00 | $0.00
11-30V DC | DC | 18 | 21 | $22.00 | $30.00 | D
Accessories
Programming buttons hidden behind plain front | PLAINLENS | 12 | 14 | $15.00 | $20.00 | D
IP67 front cover | SPC4 | 34 | 39 | $42.00 | $56.00 | D
IP65 wall mounting enclosure for 1 x meter | WALLBOX | 135 | 155 | $167.00 | $224.00 | D
IP65 wall mounting enclosure for 2 x meters | WALLBOX2 | 193 | 222 | $239.00 | $320.00 | D
INT4 - 1/8 DIN Digital Panel Meters
Part Description | Part Number | GB £ | EURO € | US $ | CAD $ | Group
Function/Input Type
Ampere hour/coulomb meter | INT4-AH | 218 | 251 | $270.00 | $362.00 | A
Counter/ratemeter | INT4-C | 213 | 245 | $264.00 | $354.00 | A
Clock/timer | INT4-H | 215 | 247 | $267.00 | $357.00 | A
Flow integrator (4-20mA, 0-10V, etc) | INT4-I | 209 | 240 | $259.00 | $347.00 | A
Load cell (up to 4mV/V) | INT4-L | 278 | 320 | $345.00 | $461.00 | A
Process (4-20mA, 0-10V, etc) | INT4-P | 192 | 221 | $238.00 | $319.00 | A
Average of 2 x 4-20mA or 0-10V | INT4-P-AVG | 242 | 278 | $300.00 | $402.00 | A
Difference of 2 x 4-20mA or 0-10V | INT4-P-DIFF | 242 | 278 | $300.00 | $402.00 | A
Sum of 2 x 4-20mA or 0-10V | INT4-P-SUM | 242 | 278 | $300.00 | $402.00 | A
2 or 4 wire resistance | INT4-R | 216 | 248 | $268.00 | $359.00 | A
Modbus RTU | INT4-RTU | 374 | 430 | $464.00 | $621.00 | A
RS232 | INT4-S2 | 209 | 240 | $259.00 | $347.00 | A
RS422/RS485 | INT4-S4 | 232 | 267 | $288.00 | $385.00 | A
Mantracourt T24 wireless data | INT4-T24 | 255 | 293 | $316.00 | $423.00 | E
Analogue Output
None | 0 | 0 | 0 | $0.00 | $0.00
-10 to +10V | ANB | 104 | 120 | $129.00 | $173.00 | A
4-20mA | ANI | 61 | 70 | $76.00 | $101.00 | A
0-10V | ANV | 61 | 70 | $76.00 | $101.00 | A
Alarm Outputs
None | 0 | 0 | 0 | $0.00 | $0.00
2 x SPST mechanical relays | AL2 | 50 | 57 | $62.00 | $83.00 | A
4 x SPST mechanical relays | AL4 | 68 | 78 | $84.00 | $113.00 | A
2 x solid state relays (specify AC or DC) | DSS | 74 | 85 | $92.00 | $123.00 | A
4 x solid state relays (specify AC or DC) | QSS | 97 | 112 | $120.00 | $161.00 | A
2 x SPCO mechanical relays | SPCO | 61 | 70 | $76.00 | $101.00 | A
4 x SPCO mechanical relays (excludes data interface) | 4SPCO | 122 | 140 | $151.00 | $203.00 | A
Data Interface
None | 0 | 0 | 0 | $0.00 | $0.00
RS232 | 232 | 56 | 64 | $69.00 | $93.00 | A
RS422/RS485 + Modbus ASCII | 485 | 80 | 92 | $99.00 | $133.00 | A
Modbus RTU | RTU | 216 | 248 | $268.00 | $359.00 | A
Digit Colour
Green | G | 6 | 7 | $7.00 | $10.00 | A
Red | R | 0 | 0 | $0.00 | $0.00
Red, daylight viewing (outdoor) | RDLV | 56 | 64 | $69.00 | $93.00 | A
Power
95-265V AC | AC | 0 | 0 | $0.00 | $0.00
11-30V DC | DC | 18 | 21 | $22.00 | $30.00 | A
Accessories/Options
100mV load cell input | 100mV | 23 | 26 | $29.00 | $38.00 | D
100 readings per second for C, L, P or R | 100X | 71 | 82 | $88.00 | $118.00 | D
5V excitation | 5VEXC | 35 | 40 | $43.00 | $58.00 | D
USB reader and copier (with CD and cable) | CLONE | 95 | 109 | $118.00 | $158.00 | D
DIN rail mounting | DIN | 59 | 68 | $73.00 | $98.00 | D
Real Time Clock module | H | 54 | 62 | $67.00 | $90.00 | D
1/2 bridge load cell input | HALF BRIDGE | 40 | 46 | $50.00 | $66.00 | D
8 program memory | MEM | 74 | 85 | $92.00 | $123.00 | D
Namur pulse input for counters/ratemeters | NAMUR | 40 | 46 | $50.00 | $66.00 | D
Connection for 4 external programming buttons | PBEXT | 113 | 130 | $140.00 | $188.00 | E
Programming buttons hidden behind plain front | PLAINLENS | 12 | 14 | $15.00 | $20.00 | D
Potentiometer input for process meters (3 wire, 10V) | POT | 35 | 40 | $43.00 | $58.00 | D
IP67 front cover | SPC4 | 34 | 39 | $42.00 | $56.00 | D
20mA current loop (TTY) for RS232 systems | TTY | 28 | 32 | $35.00 | $46.00 | E
IP65 wall mounting enclosure for 1 x meter | WALLBOX | 135 | 155 | $167.00 | $224.00 | D
IP65 wall mounting enclosure for 2 x meters | WALLBOX2 | 193 | 222 | $239.00 | $320.00 | D
INT5 - 1/8 DIN Digital Panel Meters
Part Description | Part Number | GB £ | EURO € | US $ | CAD $ | Group
Function/Input Type
Digital input (counter, rate meter, elapsed timer) | INT5-D | 187 | 215 | $232.00 | $310.00 | A
Power frequency monitor (AC power only) | INT5-PFM | 237 | 273 | $294.00 | $393.00 | A
Real time clock | INT5-RTC | 244 | 281 | $303.00 | $405.00 | A
Universal input (analogue and digital signals) | INT5-U | 264 | 304 | $327.00 | $438.00 | A
Analogue Output
None | 0 | 0 | 0 | $0.00 | $0.00
4-20mA | ANI | 70 | 81 | $87.00 | $116.00 | A
0-10V | ANV | 70 | 81 | $87.00 | $116.00 | A
Alarm Outputs
None | 0 | 0 | 0 | $0.00 | $0.00
1 x SPDT mechanical relay | AL1 | 55 | 63 | $68.00 | $91.00 | A
2 x SPDT mechanical relays | AL2 | 60 | 69 | $74.00 | $100.00 | A
3 x SPDT mechanical relays | AL3 | 65 | 75 | $81.00 | $108.00 | A
4 x SPDT mechanical relays | AL4 | 70 | 81 | $87.00 | $116.00 | A
Data Output 1
None | 0 | 0 | 0 | $0.00 | $0.00
RS232 | 232 | 59 | 68 | $73.00 | $98.00 | A
RS485 + Modbus ASCII + Modbus RTU | 485 | 84 | 97 | $104.00 | $139.00 | A
Data Output 2
None | 0 | 0 | 0 | $0.00 | $0.00
RS232 | 232 | 59 | 68 | $73.00 | $98.00 | A
RS485 + Modbus ASCII + Modbus RTU | 485 | 84 | 97 | $104.00 | $139.00 | A
Power
95-265V AC or 100-300V DC | AC | 26 | 30 | $32.00 | $43.00 | A
11-30V DC | DC | 50 | 57 | $62.00 | $83.00 | A
Options
Power frequency monitoring (AC power only) | PFM | 50 | 57 | $62.00 | $83.00 | A
Real time clock | RTC | 57 | 66 | $71.00 | $95.00 | A
Accessories
DIN rail mounting | DIN | 59 | 68 | $73.00 | $98.00 | D
IP67 front cover | SPC4 | 34 | 39 | $42.00 | $56.00 | D
IP65 wall mounting enclosure for 1 x meter | WALLBOX | 135 | 155 | $167.00 | $224.00 | D
IP65 wall mounting enclosure for 2 x meters | WALLBOX2 | 193 | 222 | $239.00 | $320.00 | D
LELCLK - Large Digit Indoor Clocks
Part Description | Part Number | GB £ | EURO € | US $ | CAD $ | Group
Digit Format
4 digits, 2 inch (57mm) high, 88:88 | LELCLK2 | 313 | 360 | $388.00 | $520.00 | E
4 digits, 4 inch (102mm) high, 88:88 | LELCLK4 | 478 | 550 | $593.00 | $793.00 | E
4 digits, 6 inch (150mm) high, 88:88 | LELCLK6 | 727 | 836 | $901.00 | $1207.00 | E
4 digits, 8 inch (200mm) high, 88:88 | LELCLK8 | 931 | 1071 | $1154.00 | $1545.00 | E
4 digits, 12 inch (300mm) high, 88:88 | LELCLK12 | 1130 | 1300 | $1401.00 | $1876.00 | E
4 digits, 16 inch (400mm) high, 88:88 | LELCLK16 | 1579 | 1816 | $1958.00 | $2621.00 | E
Mounting
Wall (16swg mild steel brackets included) | 2 | 0 | 0 | $0.00 | $0.00
Suspension (16swg mild steel brackets included) | 3 | 0 | 0 | $0.00 | $0.00
Power Cable
Not supplied |  | 0 | 0 | $0.00 | $0.00
3m length with moulded UK plug | 3M | 9 | 10 | $11.00 | $15.00 | E
5m length with moulded UK plug | 5M | 15 | 17 | $19.00 | $25.00 | E
MAXI-INT4 - 9/32 DIN Digital Panel Meters
Part Description | Part Number | GB £ | EURO € | US $ | CAD $ | Group
Function/Input Type
Ampere hour/coulomb meter | MAXI-INT4-AH | 419 | 482 | $520.00 | $696.00 | A
Counter/ratemeter | MAXI-INT4-C | 429 | 493 | $532.00 | $712.00 | A
Clock/timer | MAXI-INT4-H | 432 | 497 | $536.00 | $717.00 | A
Flow integrator (4-20mA, 0-10V, etc) | MAXI-INT4-I | 417 | 480 | $517.00 | $692.00 | A
Load cell (up to 4mV/V) | MAXI-INT4-L | 441 | 507 | $547.00 | $732.00 | A
Process (4-20mA, 0-10V, etc) | MAXI-INT4-P | 400 | 460 | $496.00 | $664.00 | A
Average of 2 x 4-20mA or 0-10V | MAXI-INT4-P-AVG | 449 | 516 | $557.00 | $745.00 | A
Difference of 2 x 4-20mA or 0-10V | MAXI-INT4-P-DIFF | 449 | 516 | $557.00 | $745.00 | A
Sum of 2 x 4-20mA or 0-10V | MAXI-INT4-P-SUM | 449 | 516 | $557.00 | $745.00 | A
2 or 4 wire resistance | MAXI-INT4-R | 424 | 488 | $526.00 | $704.00 | A
Modbus RTU | MAXI-INT4-RTU | 566 | 651 | $702.00 | $940.00 | A
RS232 | MAXI-INT4-S2 | 400 | 460 | $496.00 | $664.00 | A
RS422/RS485 | MAXI-INT4-S4 | 424 | 488 | $526.00 | $704.00 | A
Mantracourt T24 wireless data | MAXI-INT4-T24 | 447 | 514 | $554.00 | $742.00 | E
Analogue Output
None | 0 | 0 | 0 | $0.00 | $0.00
-10 to +10V | ANB | 104 | 120 | $129.00 | $173.00 | A
4-20mA | ANI | 61 | 70 | $76.00 | $101.00 | A
0-10V | ANV | 61 | 70 | $76.00 | $101.00 | A
Alarm Outputs
None | 0 | 0 | 0 | $0.00 | $0.00
2 x SPST mechanical relays | AL2 | 50 | 57 | $62.00 | $83.00 | A
4 x SPST mechanical relays | AL4 | 68 | 78 | $84.00 | $113.00 | A
2 x solid state relays (specify AC or DC) | DSS | 74 | 85 | $92.00 | $123.00 | A
4 x solid state relays (specify AC or DC) | QSS | 97 | 112 | $120.00 | $161.00 | A
2 x SPCO mechanical relays | SPCO | 61 | 70 | $76.00 | $101.00 | A
4 x SPCO mechanical relays (excludes data interface) | 4SPCO | 122 | 140 | $151.00 | $203.00 | A
Data Interface
None | 0 | 0 | 0 | $0.00 | $0.00
RS232 | 232 | 56 | 64 | $69.00 | $93.00 | A
RS422/RS485 + Modbus ASCII | 485 | 80 | 92 | $99.00 | $133.00 | A
Modbus RTU | RTU | 216 | 248 | $268.00 | $359.00 | A
Digit Colour
Green | G | 6 | 7 | $7.00 | $10.00 | A
Red | R | 0 | 0 | $0.00 | $0.00
Power
95-265V AC | AC | 0 | 0 | $0.00 | $0.00
11-30V DC | DC | 18 | 21 | $22.00 | $30.00 | A
Accessories/Options
100mV load cell input | 100mV | 23 | 26 | $29.00 | $38.00 | D
100 readings per second for C, L, P or R | 100X | 71 | 82 | $88.00 | $118.00 | D
5V excitation | 5VEXC | 35 | 40 | $43.00 | $58.00 | D
Real Time Clock module | H | 54 | 62 | $67.00 | $90.00 | D
1/2 bridge load cell input | HALF BRIDGE | 40 | 46 | $50.00 | $66.00 | D
8 program memory | MEM | 74 | 85 | $92.00 | $123.00 | D
Namur pulse input for counters/ratemeters | NAMUR | 40 | 46 | $50.00 | $66.00 | D
Connection for 4 external programming buttons | PBEXT | 113 | 130 | $140.00 | $188.00 | E
Potentiometer input for process meters (3 wire, 10V) | POT | 35 | 40 | $43.00 | $58.00 | D
IP65 front cover | SPC4M | 65 | 75 | $81.00 | $108.00 | D
IP65 wall mounting enclosure for 1 x meter | WALLBOXM | 225 | 259 | $279.00 | $374.00 | D
PCC - Portable Carrying Cases for 1/8 DIN Panel Meters
Part Description | Part Number | GB £ | EURO € | US $ | CAD $ | Group
Panel Meter Cutouts
1 x 1/8 DIN meter | PCC1 | 174 | 200 | $216.00 | $289.00 | D
2 x 1/8 DIN meters | PCC2 | 228 | 262 | $283.00 | $378.00 | D
4 x 1/8 DIN meters | PCC4 | 313 | 360 | $388.00 | $520.00 | D
6 x 1/8 DIN meters | PCC6 | 512 | 589 | $635.00 | $850.00 | D
12 x 1/8 DIN meters | PCC12 | 918 | 1056 | $1138.00 | $1524.00 | D
Analogue Output Connector
None | 0 | 0 | 0 | $0.00 | $0.00
1 x analogue output connector | CAO | 25 | 29 | $31.00 | $42.00 | D
Alarm Output Connector
None | 0 | 0 | 0 | $0.00 | $0.00
1 x alarm output connector | CAL | 25 | 29 | $31.00 | $42.00 | D
2 x alarm output connectors | CAL2 | 50 | 57 | $62.00 | $83.00 | D
3 x alarm output connectors | CAL3 | 75 | 86 | $93.00 | $125.00 | D
4 x alarm output connectors | CAL4 | 100 | 115 | $124.00 | $166.00 | D
Serial Output Connector
None | 0 | 0 | 0 | $0.00 | $0.00
1 x serial output connector | CSO | 25 | 29 | $31.00 | $42.00 | D
Power Connector
Rechargeable battery (18V, 1.3Ah, 23.4Wh) | BAT | 247 | 284 | $306.00 | $410.00 | D
AC power connector | CAC | 0 | 0 | $0.00 | $0.00
DC power connector | CDC | 25 | 29 | $31.00 | $42.00 | D
PICA - 1/32 DIN Digital Panel Meters
Part Description | Part Number | GB £ | EURO € | US $ | CAD $ | Group
Function/Input Type
Loop powered (powered by the 4-20mA signal) | PICA-40-LP | 137 | 158 | $170.00 | $227.00 | E
AC/DC current/voltage | PICA-E | 153 | 176 | $190.00 | $254.00 | E
Frequency | PICA-F | 153 | 176 | $190.00 | $254.00 | E
Process (4-20mA, 0-10V, etc) | PICA-P | 153 | 176 | $190.00 | $254.00 | E
Process with 2 x SPST mechanical relays | PICA-P-100 | 214 | 246 | $265.00 | $355.00 | E
PT100/thermocouple | PICA-T | 153 | 176 | $190.00 | $254.00 | E
Power
85-265V AC or 100-300V DC | 0 | 0 | 0 | $0.00 | $0.00
21-53V AC or 11-70V DC | 6 | 17 | 20 | $21.00 | $28.00 | E
PRO-BAR - 250mm Scale Length Bargraph
Part Description | Part Number | GB £ | EURO € | US $ | CAD $ | Group
250mm scale length bargraph | PRO-BAR | 517 | 595 | $641.00 | $858.00 | D
Power
95-265V AC | AC | 0 | 0 | $0.00 | $0.00
11-30V DC | DC | 44 | 51 | $55.00 | $73.00 | D
Orientation
Horizontal | H | 0 | 0 | $0.00 | $0.00
Vertical | V | 0 | 0 | $0.00 | $0.00
LED Colour/Brightness
Green, normal (indoor) | G | 0 | 0 | $0.00 | $0.00
Green, daylight viewing (outdoor) | GDLV | 104 | 120 | $129.00 | $173.00 | D
Red, normal (indoor) | R | 0 | 0 | $0.00 | $0.00
Red, daylight viewing (outdoor) | RDLV | 104 | 120 | $129.00 | $173.00 | D
Mounting
Panel | 1 | 59 | 68 | $73.00 | $98.00 | D
Wall | 2 | 0 | 0 | $0.00 | $0.00
Suspension | 3 | 0 | 0 | $0.00 | $0.00
PSC1 - Parallel BCD to Serial Converter
Part Description | Part Number | GB £ | EURO € | US $ | CAD $ | Group
Parallel BCD to RS422 converter | PSC1 | 150 | 173 | $186.00 | $249.00 | D
Logic Level
5V | 5 | 32 | 37 | $40.00 | $53.00 | D
12V | 12 | 32 | 37 | $40.00 | $53.00 | D
24V | 24 | 0 | 0 | $0.00 | $0.00
Active Level
Logic 1 = high level | HI | 0 | 0 | $0.00 | $0.00
Logic 0 = high level | LO | 25 | 29 | $31.00 | $42.00 | D
TIM018-MK2 - 4-20mA Loop Splitter
Part Description | Part Number | GB £ | EURO € | US $ | CAD $ | Group
1 x 4-20mA input, 3 x 4-20mA outputs | TIM018-MK2 | 180 | 207 | $223.00 | $299.00 | D
Power
95-265V AC | AC | 0 | 0 | $0.00 | $0.00
11-30V DC | DC | 14 | 16 | $17.00 | $23.00 | D
TITAN - Message Displays
Part Description | Part Number | GB £ | EURO € | US $ | CAD $ | Group
8 Pixels High
1 row of 5 characters 53mm high | TITAN-32x8 | 353 | 406 | $438.00 | $586.00 | F
1 row of 10 characters 53mm high | TITAN-64x8 | 449 | 516 | $557.00 | $745.00 | F
1 row of 16 characters 53mm high | TITAN-96x8 | 592 | 681 | $734.00 | $983.00 | F
1 row of 21 characters 53mm high | TITAN-128x8 | 750 | 862 | $930.00 | $1245.00 | F
1 row of 26 characters 53mm high | TITAN-160x8 | 887 | 1020 | $1100.00 | $1472.00 | F
1 row of 32 characters 53mm high | TITAN-192x8 | 1027 | 1181 | $1273.00 | $1705.00 | F
1 row of 37 characters 53mm high | TITAN-224x8 | 1185 | 1363 | $1469.00 | $1967.00 | F
1 row of 42 characters 53mm high | TITAN-256x8 | 1323 | 1521 | $1641.00 | $2196.00 | F
16 Pixels High
1 row of 4 characters 114mm high | TITAN-32x16 | 432 | 497 | $536.00 | $717.00 | F
1 row of 8 characters 114mm high | TITAN-64x16 | 706 | 812 | $875.00 | $1172.00 | F
1 row of 12 characters 114mm high | TITAN-96x16 | 932 | 1072 | $1156.00 | $1547.00 | F
1 row of 16 characters 114mm high | TITAN-128x16 | 1255 | 1443 | $1556.00 | $2083.00 | F
1 row of 20 characters 114mm high | TITAN-160x16 | 1481 | 1703 | $1836.00 | $2458.00 | F
1 row of 24 characters 114mm high | TITAN-192x16 | 1706 | 1962 | $2115.00 | $2832.00 | F
1 row of 28 characters 114mm high | TITAN-224x16 | 1995 | 2294 | $2474.00 | $3312.00 | F
1 row of 32 characters 114mm high | TITAN-256x16 | 2253 | 2591 | $2794.00 | $3740.00 | F
24 Pixels High
1 row of 2 characters 175mm high | TITAN-32x24 | 586 | 674 | $727.00 | $973.00 | F
1 row of 4 characters 175mm high | TITAN-64x24 | 1011 | 1163 | $1254.00 | $1678.00 | F
1 row of 7 characters 175mm high | TITAN-96x24 | 1437 | 1653 | $1782.00 | $2385.00 | F
1 row of 9 characters 175mm high | TITAN-128x24 | 1863 | 2142 | $2310.00 | $3093.00 | F
1 row of 12 characters 175mm high | TITAN-160x24 | 2288 | 2631 | $2837.00 | $3798.00 | F
1 row of 14 characters 175mm high | TITAN-192x24 | 2714 | 3121 | $3365.00 | $4505.00 | F
1 row of 17 characters 175mm high | TITAN-224x24 | 3138 | 3609 | $3891.00 | $5209.00 | F
1 row of 19 characters 175mm high | TITAN-256x24 | 3564 | 4099 | $4419.00 | $5916.00 | F
32 Pixels High
1 row of 1 character 236mm high | TITAN-32x32 | 735 | 845 | $911.00 | $1220.00 | F
1 row of 3 characters 236mm high | TITAN-64x32 | 1287 | 1480 | $1596.00 | $2136.00 | F
1 row of 5 characters 236mm high | TITAN-96x32 | 1842 | 2118 | $2284.00 | $3058.00 | F
1 row of 7 characters 236mm high | TITAN-128x32 | 2415 | 2777 | $2995.00 | $4009.00 | F
1 row of 9 characters 236mm high | TITAN-160x32 | 2984 | 3432 | $3700.00 | $4953.00 | F
1 row of 11 characters 236mm high | TITAN-192x32 | 3520 | 4048 | $4365.00 | $5843.00 | F
1 row of 13 characters 236mm high | TITAN-224x32 | 4090 | 4704 | $5072.00 | $6789.00 | F
1 row of 15 characters 236mm high | TITAN-256x32 | 4647 | 5344 | $5762.00 | $7714.00 | F
Brightness
Outdoor brightness | DLV | 0 | 0 | $0.00 | $0.00
Indoor brightness | N | 0 | 0 | $0.00 | $0.00
Power
5V DC | 5VDC | 75 | 86 | $93.00 | $125.00 | F
12V DC | 12VDC | 75 | 86 | $93.00 | $125.00 | F
24V DC | 24VDC | 75 | 86 | $93.00 | $125.00 | F
100-240V AC | AC | 0 | 0 | $0.00 | $0.00
Mounting
Uncased | 0 | 0 | 0 | $0.00 | $0.00
Panel, glands on rear | 1 | 139 | 160 | $172.00 | $231.00 | F
Wall, glands on bottom surface | 2 | 75 | 86 | $93.00 | $125.00 | F
Large Wall, glands on bottom surface | 2L | 75 | 86 | $93.00 | $125.00 | F
Stainless steel wall, glands on bottom surface | 2SS | 103 | 118 | $128.00 | $171.00 | F
Suspension, glands on bottom surface | 3 | 75 | 86 | $93.00 | $125.00 | F
Back to back suspension, glands on bottom surface | 3BB | 75 | 86 | $93.00 | $125.00 | F
Stainless steel suspension, glands on bottom surface | 3SS | 103 | 118 | $128.00 | $171.00 | F
Wall, glands on top surface | 4 | 75 | 86 | $93.00 | $125.00 | F
Large wall, glands on top surface | 4L | 75 | 86 | $93.00 | $125.00 | F
Suspension, glands on top surface | 5 | 75 | 86 | $93.00 | $125.00 | F
Back to back suspension, glands on top surface | 5BB | 75 | 86 | $93.00 | $125.00 | F
Suspension, glands on rear | 6 | 87 | 100 | $108.00 | $144.00 | F
Suspension/Wall, glands on bottom surface | 7 | 113 | 130 | $140.00 | $188.00 | F
Suspension/Wall, glands on top surface | 8 | 113 | 130 | $140.00 | $188.00 | F
No brackets, glands on rear | 9 | 51 | 59 | $63.00 | $85.00 | F
Wall, glands on rear | 10 | 87 | 100 | $108.00 | $144.00 | F
Input Type
RS232 serial data | 232 | 0 | 0 | $0.00 | $0.00
RS485 serial data | 485 | 0 | 0 | $0.00 | $0.00
Binary contact closure for up to 64 messages | BCC | 0 | 0 | $0.00 | $0.00
Ethernet/IP | IP | 730 | 839 | $905.00 | $1212.00 | D
Binary contact closure for up to 254 messages | MEM | 270 | 311 | $335.00 | $448.00 | F
Profibus | PB | 730 | 839 | $905.00 | $1212.00 | D
Profinet | PN | 730 | 839 | $905.00 | $1212.00 | D
Ethernet TCP/IP (RJ45 socket on rear) | TCP/IP | 242 | 278 | $300.00 | $402.00 | F
USB to RS485 converter | USB | 68 | 78 | $84.00 | $113.00 | E
Accessories/Options
Thermostatic heater, 12V DC powered | HEATER12VDC | 189 | 217 | $234.00 | $314.00 | D
Thermostatic heater, 24V DC powered | HEATER24VDC | 189 | 217 | $234.00 | $314.00 | D
Thermostatic heater, 95-265V AC powered | HEATERAC | 189 | 217 | $234.00 | $314.00 | D
White vinyl descriptive text (includes taller case) | LEGEND | 68 | 78 | $84.00 | $113.00 | F